Utility Demolition Permit

Engineers Construction, Inc.

ECI Project: __________________

ECI Project No. _______________

Utility Type (E, G, T, W, S, etc):______________________________________________________________________________________

Utility Location (Street, City, State):___________________________________________________________________________________

Utility Owner:_____________________________________________________________________________________________________

Did ECI or Owner verify that utility is de-energized? _____________________________________________________________________

By What Method? _________________________________________________________________________________________________

Is the utility locked out & tagged?_____________________________________________________________________________________

Is demolition required by contract? ____________________________________________________________________________________

If not, why is demolition required? ____________________________________________________________________________________

Special Instructions: _______________________________________________________________________________________________

Owner’s Representative:______________________________	ECI Foreman/Superintendent: __________________________________

Date: _____________________________________________	Date: _____________________________________________________

General Requirements:

- The utility owner must be on site during demolition.

- ECI verification that utility is de-energized shall consist of an electromagnetic field meter for electrical lines, drilling/tapping of water lines, and partial pipe removal for sewer.  Owner’s verification shall be in accordance with their standard procedures.

- No gas lines shall be demolished until the owner has cut open the line and verified that there are not residual explosive gases.

- Electrical systems shall be locked out, tagged, and grounded in accordance with the owner’s standard procedures.